## 2021 GHG Reporting
2021 Energy Consumption and Greenhouse Gas Emissions Reporting
Confirm consecutive 12-mth period (mth-yr to mth-yr) | Jan/2021 - Dec/2021
Sector | Municipality
Agency Sub-sector | Municipal
Organization Name | Niagara Region
Operation Name | Operation Type | Address | City | Postal Code | Total Floor Area | Unit | Average Influent Flow (m3PD) | Annual Flow (ML) | Electricity Quantity | Electricity Unit | Natural Gas Quantity | Natural Gas Unit | Propane Quantity | Propane Unit | GHG Emissions (Metric Tons CO2e) | GHG Emissions (Kg) | Energy Intensity (GJ/m2) | Total ekWh | Energy Intensity (ekWh/ML) | Total GHG Emissions Intensity (kgC02e/m2)
Anger Ave. Wastewater | Wastewater Treatment Plant | 1 Anger Avenue | Fort Erie | L2A 5M4 | 9940.9 | m2 | 13172.2 | 4807.853 | 3618833.4 | kWh | 132165 | Cubic Meter | Not Available | Litres | 360.3 | 360300 | 1.82 | 5025681.2428 | 1045.3068 | 36.2
Baker Rd. Wastewater | Wastewater Treatment Plant | 160 Lake Street | Grimsby | L3M 4M9 | 16078.9 | m2 | 17077.6 | 6233.324 | 5506505.6 | kWh | 129718 | Cubic Meter | Not Available | Litres | 410.3 | 410300 | 1.54 | 6878201.6137 | 1103.4565 | 25.5
Branscombe Early Learning and Family Centre | Other | 6271 Glengate Street | Niagara Falls | L2E 5S4 | 1038.7 | m2 | Not Available | Not Available | 81485.1 | kWh | 9815.09 | Cubic Meter | Not Available | Litres | 21.3 | 21300 | 0.65 | 187543.2056 | Not Available | 20.5
Crystal Beach Wastewater | Wastewater Treatment Plant | 500 Ridgeway Road | Fort Erie | L3C7J3 | 2631.1 | m2 | 5254.6 | 1917.929 | 1106991.4 | kWh | 84465 | Cubic Meter | Not Available | Litres | 195.3 | 195300 | 2.75 | 2009869.6635 | 1047.9375 | 74.2
DeCew Falls Water | Drinking Water Treatment & Distribution | 2700 DeCew Road | St Catharines | L0S 1E6 | 16613.7 | m2 | 50830.4 | 18553.096 | 5659074.454 | kWh | 97295 | Cubic Meter | Not Available | Litres | 199.4 | 199400 | 0.31 | 1430625.3112 | 77.1098 | 12
Environmental Centre | Office | 3501 Schmon Parkway | Thorold | L2V 4Y6 | 1764.8 | m2 | Not Available | Not Available | 306620.5 | kWh | 56423.9 | Cubic Meter | Not Available | Litres | 117.9 | 117900 | 1.85 | 906911.8366 | Not Available | 66.8
Fort Erie EMS & NRPS #5 District | Other - Public Services | 650 Gilmore Road | Fort Erie | L2A 5M4 | 1300.6 | m2 | Not Available | Not Available | 177477.5 | kWh | 20042.93 | Cubic Meter | Not Available | Litres | 43.9 | 43900 | 1.08 | 390180.3121 | Not Available | 33.7
Fort Erie Public Health (new) | Office | 1264 Garrison Road | Fort Erie | L2A 1P1 | 329.7 | m2 | Not Available | Not Available | 22047.6 | kWh | 4169.72 | Cubic Meter | Not Available | Litres | 8.7 | 8700 | 0.73 | 66855.8868 | Not Available | 26.4
Fort Erie Regional Child Care Centre | Other | 94 Catherine Street | Fort Erie | L2A 5W6 | 380 | m2 | Not Available | Not Available | 56711 | kWh | 8750.99 | Cubic Meter | Not Available | Litres | 18.6 | 18600 | 1.42 | 149889.0088 | Not Available | 48.8
Grimsby Ambulance Base | Other - Public Services | 10 Iroquois Trail (A) | Grimsby | L3M 1R2 | 312 | m2 | Not Available | Not Available | 27944 | kWh | 4519.58 | Cubic Meter | Not Available | Litres | 9.5 | 9500 | 0.88 | 76266.7277 | Not Available | 30.6
Grimsby Water | Drinking Water Treatment & Distribution | 300 North Service Road | Grimsby | L3M 4E8 | 11196.4 | m2 | 14895 | 5436.675 | 4450664 | kWh | 93093 | Cubic Meter | Not Available | Litres | 308.9 | 308900 | 1.75 | 5442698.7986 | 1001.108 | 27.6
LTC Deer Park Villa | Senior Living Community | 150 Central Avenue | Grimsby | L3M 4Z3 | 5290 | m2 | Not Available | Not Available | 887032.6 | kWh | 94272 | Cubic Meter | Not Available | Litres | 207.9 | 207900 | 1.29 | 1895584.8498 | Not Available | 39.3
LTC Gilmore Lodge | Senior Living Community | 50 Gilmore Road | Fort Erie | L2A 3M1 | 4535.9 | m2 | Not Available | Not Available | 926162.8 | kWh | 116435.01 | Cubic Meter | Not Available | Litres | 251.8 | 251800 | 1.72 | 2167153.9559 | Not Available | 55.5
LTC Linhaven | Senior Living Community | 403 Ontario Street | St. Catharines | L2N 4M8 | 13372.1 | m2 | Not Available | Not Available | 2723738.6 | kWh | 300696.49 | Cubic Meter | Not Available | Litres | 660 | 660000 | 1.6 | 5943160.3101 | Not Available | 49.4
LTC Northland Pointe | Senior Living Community | 2 Fielden Avenue | Port Colborne | L3K 2N7 | 9138 | m2 | Not Available | Not Available | 1729244.1 | kWh | 240470.66 | Cubic Meter | Not Available | Litres | 514.8 | 514800 | 1.69 | 4289786.7652 | Not Available | 56.3
LTC Rapelje Lodge | Senior Living Community | 277 Plymouth Road | Welland | L3B 6E3 | 7311 | m2 | Not Available | Not Available | 1251178.9 | kWh | 255414.24 | Cubic Meter | Not Available | Litres | 529.8 | 529800 | 1.96 | 3980436.5177 | Not Available | 72.5
LTC The Meadows of Dorchester | Senior Living Community | 6623 Kalar Road | Niagara Falls | L2H 2T3 | 7247.9 | m2 | Not Available | Not Available | 1273091.5 | kWh | 231909.24 | Cubic Meter | Not Available | Litres | 485 | 485000 | 1.86 | 3744751.3291 | Not Available | 66.9
LTC Upper Canada Lodge | Senior Living Community | 272 Wellington Street | Niagara-on-the-Lake | L0S 1J0 | 4347.5 | m2 | Not Available | Not Available | 803134.5 | kWh | 117400.73 | Cubic Meter | Not Available | Litres | 250.1 | 250100 | 1.7 | 2052987.7535 | Not Available | 57.5
LTC Woodlands of Sunset | Senior Living Community | 920 South Pelham Road | Welland | L3C 1Y5 | 7030 | m2 | Not Available | Not Available | 1401990 | kWh | 230696.27 | Cubic Meter | Not Available | Litres | 486.4 | 486400 | 1.98 | 3866503.0932 | Not Available | 69.2
Mcleod Health Building | Office | 7835 Mcleod Road | Niagara Falls | L2H 2Y6 | 2045 | m2 | Not Available | Not Available | 230703.6 | kWh | 13260.83 | Cubic Meter | Not Available | Litres | 32.3 | 32300 | 0.66 | 374916.9666 | Not Available | 15.8
Niagara Falls Community Services Employment Office | Office | 5853 Peer Street | Niagara Falls | L2G 1X3 | 2016.9 | m2 | Not Available | Not Available | 87496.6 | kWh | 14716.43 | Cubic Meter | Not Available | Litres | 31 | 31000 | 0.44 | 246510.1972 | Not Available | 15.4
Niagara Falls North Street Ambulance Base | Other - Public Services | 5685 North Street | Niagara Falls | L2G 1J4 | 556.5 | m2 | Not Available | Not Available | 67093.7 | kWh | 6629.37 | Cubic Meter | Not Available | Litres | 14.8 | 14800 | 0.89 | 137579.2767 | Not Available | 26.5
Niagara Falls St Paul Avenue Ambulance Base | Other - Public Services | 2722 St Paul Avenue | Niagara Falls | L2J 4K9 | 90.6 | m2 | Not Available | Not Available | 12561.8 | kWh | 3774.01 | Cubic Meter | Not Available | Litres | 7.7 | 7700 | 2.1 | 52850.0423 | Not Available | 84.5
Niagara Falls Wastewater | Wastewater Treatment Plant | 3450 Stanley Ave | Niagara Falls | L2E 6S4 | 18755.5 | m2 | 35198.2 | 12847.343 | 7960595.1 | kWh | 472995 | Cubic Meter | Not Available | Litres | 1144.8 | 1144800 | 2.5 | 13024663.1975 | 1013.8021 | 61
Niagara Falls Water | Drinking Water Treatment & Distribution | 3599 Macklem Ave | Niagara Falls | L2G 6C8 | 7588.9 | m2 | 40126.1 | 14646.0265 | 6687358.6 | kWh | 226752 | Cubic Meter | Not Available | Litres | 632.1 | 632100 | 4.32 | 9106687.2853 | 621.7855 | 83.3
Niagara On The Lake Wastewater | Wastewater Treatment Plant | 1738 Lakeshore Road | Niagara On The Lake | L0S 1J0 | 4949.5 | m2 | 5600.4 | 2044.146 | 2935326 | kWh | 472995 | Cubic Meter | Not Available | Litres | 397.1 | 397100 | 3.39 | 4660782.8953 | 2280.0636 | 80.2
NOTL Ambulance Base | Other - Public Services | 176 Wellington Street | Niagara on the Lake | L0S 1J0 | 203.5 | m2 | Not Available | Not Available | 7614 | kWh | 2728.46 | Cubic Meter | 2,454.7 | Litres | 9.3 | 9300 | 0.96 | 54266.7101 | Not Available | 45.7
NOTL EMS Fleet Centre - Unit 300 | Other - Public Services | 2 Westwood Court Unit 300 | Niagara on the Lake | L0S 1J0 | 1383.5 | m2 | Not Available | Not Available | 116186.2 | kWh | 17425.42 | Cubic Meter | Not Available | Litres | 37 | 37000 | 0.79 | 303601.6318 | Not Available | 26.8
NOTL EMS Fleet Extenstion - Unit 200 | Other - Public Services | 2 Westwood Court Unit 200 | Niagara on the Lake | L0S 1J0 | 981.7 | m2 | Not Available | Not Available | 65430.6 | kWh | 15536.34 | Cubic Meter | Not Available | Litres | 31.9 | 31900 | 0.85 | 231790.4632 | Not Available | 32.5
NOTL Westwood EMS - 2 Westwood Unit 100 | Other | 2 Westwood Court Unit 100 | Niagara on the Lake | L0S 1J0 | 278.7 | m2 | Not Available | Not Available | 20264.4 | kWh | 1925.19 | Cubic Meter | Not Available | Litres | 4.3 | 4300 | 0.53 | 41030.8662 | Not Available | 15.5
NRPS Grimsby #8 District | Police Station | 45 Clarke Street | Grimsby | L3M 3H3 | 759.9 | m2 | Not Available | Not Available | 127754.4 | kWh | 12441.01 | Cubic Meter | Not Available | Litres | 27.7 | 27700 | 1.23 | 259632.7077 | Not Available | 36.5
NRPS HQ #2 District (new) | Police Station | 5700 Valley Way | Niagara Falls | L2E 1X9 | 19230.9 | m2 | Not Available | Not Available | 3488656.9 | kWh | 179738.05 | Cubic Meter | Not Available | Litres | 448.5 | 448500 | 1.01 | 5395340.1496 | Not Available | 23.3
NRPS Police Fleet | Police Station | 3551 Thorold Townline Road | Thorold | L0S 1A0 | 1769.8 | m2 | Not Available | Not Available | 113022.6 | kWh | 22763.71 | Cubic Meter | Not Available | Litres | 47.3 | 47300 | 0.72 | 353960.2832 | Not Available | 26.7
NRPS Port Colborne #6 District | Police Station | 501 Fielden Avenue | Port Colborne | L3K 3L1 | 488.7 | m2 | Not Available | Not Available | 72816 | kWh | 3177.23 | Cubic Meter | Not Available | Litres | 8.3 | 8300 | 0.79 | 107242.5858 | Not Available | 16.9
NRPS St. Catharines - 1599 Welland Canals | Police Station | 1599 Welland Canals Pkwy | St Catharines | L2M 6S2 | 1705 | m2 | Not Available | Not Available | 263307.1 | kWh | 15901.23 | Cubic Meter | Not Available | Litres | 38.4 | 38400 | 0.91 | 430986.4559 | Not Available | 22.5
NRPS St. Catharines #1 District | Police Station | 198 Welland Ave | St. Catharines | L2R 2P3 | 2957 | m2 | Not Available | Not Available | 342571.6 | kWh | 41627.63 | Cubic Meter | Not Available | Litres | 90.4 | 90400 | 0.96 | 788533.9642 | Not Available | 30.6
NRPS St. Catharines 1D - Old | Police Station | 68 Church Street | St Catharines | L2R 3C6 | 6993.7 | m2 | Not Available | Not Available | 946591.1 | kWh | 96579.1 | Cubic Meter | Not Available | Litres | 214.1 | 214100 | 1.02 | 1981549.9186 | Not Available | 30.6
NRPS Welland #3 District | Police Station | 5 Lincoln Street | Welland | L3C 5H9 | 2415 | m2 | Not Available | Not Available | 463936.8 | kWh | 37118.99 | Cubic Meter | Not Available | Litres | 85.2 | 85200 | 1.28 | 858667.3536 | Not Available | 35.3
NRPS Welland Gun Range (Training Centre) | Police Station | 107 Seneca Trail | Welland | L3C 7L3 | 1995.6 | m2 | Not Available | Not Available | 146400 | kWh | 46119 | Cubic Meter | Not Available | Litres | 93.4 | 93400 | 1.15 | 637483.8433 | Not Available | 46.8
Pelham Ambulance Base | Other - Public Services | 183 Highway 20 West | Pelham | L0S 1E5 | 311.9 | m2 | Not Available | Not Available | 27578.2 | kWh | 4311.99 | Cubic Meter | Not Available | Litres | 9.1 | 9100 | 0.85 | 73643.1145 | Not Available | 29.3
Pelham Patrol Yard | Other - Public Services | 1495 Victoria Ave | Pelham | L0S 1C0 | 384.6 | m2 | Not Available | Not Available | 81157.4 | kWh | 11924.65 | Cubic Meter | Not Available | Litres | 25.4 | 25400 | 1.95 | 208325.1667 | Not Available | 66
Port Colborne Ambulance Base | Other - Public Services | 42 Dolphin Street | Port Colborne | L3K 2J4 | 656.4 | m2 | Not Available | Not Available | 41130.2 | kWh | 10319.41 | Cubic Meter | Not Available | Litres | 21.1 | 21100 | 0.83 | 151336.7877 | Not Available | 32.2
Port Colborne Water | Drinking Water Treatment & Distribution | 323 King Street | Port Colborne | L3K 4H2 | 3041.3 | m2 | 6387.2 | 2331.328 | 1292389.9 | kWh | 55629 | Cubic Meter | Not Available | Litres | 145 | 145000 | 2.23 | 1883917.896 | 808.0879 | 47.7
Port Dalhousie Wastewater | Wastewater Treatment Plant | 40 Lighthouse Road | St Catharines | L2N 4G7 | 18437.5 | m2 | 31791.9 | 11604.0435 | 4809081.3 | kWh | 137719 | Cubic Meter | Not Available | Litres | 405.6 | 405600 | 1.23 | 6299484.2063 | 542.8698 | 22
Port Weller Wastewater | Wastewater Treatment Plant | 27 Lombardy Ave | St Catharines | L2M 1A1 | 13020.7 | m2 | 33179.2 | 12110.408 | 3825031.2 | kWh | 120196 | Cubic Meter | Not Available | Litres | 343.2 | 343200 | 1.41 | 5099778.2465 | 421.1071 | 26.4
Queenston Operations Wastewater | Wastewater Treatment Plant | 5 River Frontage Road | Niagara on the Lake | L0S 1J0 | 355.9 | m2 | 139 | 50.735 | 154270.9 | kWh | Not Available | Cubic Meter | Not Available | Litres | 4.5 | 4500 | 1.56 | 154223.4567 | 3039.7843 | 12.6
Regional HQ - Campbell E&W | Office | 1815 Sir Isaac Brock Way | Thorold | L2V 4T7 | 18431.2 | m2 | Not Available | Not Available | 3096088 | kWh | 186873.51 | Cubic Meter | Not Available | Litres | 450.9 | 450900 | 0.99 | 5068584.0549 | Not Available | 24.5
Ridgeway Ambulance Base | Other - Public Services | 369 Gorham Road | Fort Erie | L0S 1N0 | 312.2 | m2 | Not Available | Not Available | 29691.1 | kWh | 4859.83 | Cubic Meter | Not Available | Litres | 10.3 | 10300 | 0.94 | 81518.9541 | Not Available | 32.8
Rose Hill Water | Drinking Water Treatment & Distribution | 300 Rose Hill Road | Fort Erie | L2A 5M4 | 4324.2 | m2 | 11708.8 | 4273.712 | 2142428.7 | kWh | 86093 | Cubic Meter | Not Available | Litres | 228.5 | 228500 | 2.55 | 3062977.4504 | 716.7019 | 52.8
S/D Lagoon | Wastewater Treatment Plant | 3201 Netherby Road | Niagara Falls | L0S 1S0 | 13723.2 | m2 | 1547.9 | 564.9835 | 415852.7 | kWh | Not Available | Cubic Meter | Not Available | Litres | 12.1 | 12100 | 0.11 | 419320.3355 | 742.1816 | 0.9
Seaway Wastewater | Wastewater Treatment Plant | 30 Prosperity Avenue | Port Colborne | L3K 5X9 | 10408.9 | m2 | 10202.3 | 3723.8395 | 2459500.7 | kWh | 345843 | Cubic Meter | Not Available | Litres | 739.5 | 739500 | 2.13 | 6158604.0935 | 1653.8318 | 71
Smithville Ambulance Base | Other - Public Services | 110 West Street | West Lincoln | L0R 2A0 | 322.7 | m2 | Not Available | Not Available | 19545.5 | kWh | 7055.59 | Cubic Meter | Not Available | Litres | 14.2 | 14200 | 1.06 | 95017.2982 | Not Available | 44
Smithville Patrol Yard | Other - Public Services | 3112 Thirty Road | West Lincoln | L0R 2A0 | 947.6 | m2 | Not Available | Not Available | 68633.4 | kWh | 23283.78 | Cubic Meter | Not Available | Litres | 47 | 47000 | 1.21 | 318499.1437 | Not Available | 49.6
St Catharines Community Services Employment Office | Office | 234 Bunting Road | St Catharines | L2M 5V5 | 2741 | m2 | Not Available | Not Available | 192959.5 | kWh | 30189.08 | Cubic Meter | Not Available | Litres | 63.9 | 63900 | 0.68 | 517744.8586 | Not Available | 23.3
St Catharines Linwell Road Ambulance Base | Other - Public Services | 337 Linwell Road | St Cathariness | L2N 1T7 | 195.1 | m2 | Not Available | Not Available | 25930.7 | kWh | 3176.66 | Cubic Meter | Not Available | Litres | 6.9 | 6900 | 1.1 | 59613.9366 | Not Available | 35.3
St Catharines Ontario Street Ambulance Base | Other - Public Services | 139 Ontario Street | St Catharines | L2R 5J9 | 874 | m2 | Not Available | Not Available | 75679.9 | kWh | 10474.43 | Cubic Meter | Not Available | Litres | 22.4 | 22400 | 0.77 | 186939.0384 | Not Available | 25.7
St Catharines Public Health | Office | 277 Welland Ave | St Catharines | L2R 2P7 | 529.9 | m2 | Not Available | Not Available | 36842.3 | kWh | 14407.69 | Cubic Meter | Not Available | Litres | 28.9 | 28900 | 1.3 | 191352.9309 | Not Available | 54.5
St. Catharines Regional Child Care Centre - post expansion | Other | 179 Carlton Street | St. Catharines | L2R 1S1 | 829 | m2 | Not Available | Not Available | 76874.2 | kWh | 15564.48 | Cubic Meter | Not Available | Litres | 32.3 | 32300 | 1.06 | 244094.6397 | Not Available | 39
Thorold EMS Station at HQ | Other - Public Services | 3450 Merrittville Highway | Thorold | L2V 4Y6 | 322.4 | m2 | Not Available | Not Available | 26034 | kWh | 5628.53 | Cubic Meter | Not Available | Litres | 11.6 | 11600 | 0.96 | 85973.4021 | Not Available | 36.1
Thorold Patrol Yard and Public Works Service Centre | Other - Public Services | 3547 & 3557 Thorold Townline Road | Thorold | L2V 3Y5 | 4800.3 | m2 | Not Available | Not Available | 475179.3 | kWh | 70835.56 | Cubic Meter | Not Available | Litres | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available
W/WW Central Maintenance | Other - Public Services | 980 Major Street | Welland | L3B 3Z3 | 2358.9 | m2 | Not Available | Not Available | 260216.6 | kWh | 38537.6 | Cubic Meter | 797.3 | Litres | 83.2 | 83200 | 1.03 | 674908.0399 | Not Available | 35.3
Welland Ambulance Base | Other - Public Services | 580 King Street | Welland | L3B 3L3 | 631 | m2 | Not Available | Not Available | 51148.9 | kWh | 13097.55 | Cubic Meter | Not Available | Litres | 26.8 | 26800 | 1.09 | 191052.9306 | Not Available | 42.5
Welland Community Services | Office | 250 Thorold Road | Welland | L3C 3W1 | 2403.4 | m2 | Not Available | Not Available | 217190.5 | kWh | 43779.58 | Cubic Meter | Not Available | Litres | 90.9 | 90900 | 1.03 | 687639.9946 | Not Available | 37.8
Welland EMS base | Other - Public Services | 655 Niagara Street | Welland | L3C 1E2 | 162.6 | m2 | Not Available | Not Available | 22457.6 | kWh | 6124.52 | Cubic Meter | Not Available | Litres | 12.5 | 12500 | 1.94 | 87623.4034 | Not Available | 76.8
Welland Patrol Yard | Other - Public Services | 745 Doan's Ridge Rd. | Welland | L3B 5N7 | 1609.9 | m2 | Not Available | Not Available | 239657 | kWh | 32946.56 | Cubic Meter | Not Available | Litres | 70.6 | 70600 | 1.32 | 590297.1389 | Not Available | 43.9
Welland POCF | Police Station | 445 East Main St. | Welland | L3B 3X7 | 1894.9 | m2 | Not Available | Not Available | 246991.8 | kWh | 20452.75 | Cubic Meter | Not Available | Litres | 46.7 | 46700 | 0.88 | 463198.1483 | Not Available | 24.6
Welland Public Health | Office | 200 Division Street | Welland | L3B 3B1 | 1675 | m2 | Not Available | Not Available | 151483.2 | kWh | 17299 | Cubic Meter | Not Available | Litres | 37.8 | 37800 | 0.72 | 335000.268 | Not Available | 22.6
Welland Regional Child Care Centre | Other | 25 Bruce Street | Welland | L3B 3P9 | 409.7 | m2 | Not Available | Not Available | 54691 | kWh | 8315.22 | Cubic Meter | Not Available | Litres | 17.7 | 17700 | 1.26 | 143395.1147 | Not Available | 43.1
Welland Wastewater | Wastewater Treatment Plant | 505 River Road | Welland | L3B 5N4 | 16088.7 | m2 | 34289.5 | 12515.6675 | 5080588.2 | kWh | 89634 | Cubic Meter | Not Available | Litres | 320.5 | 320500 | 1.35 | 6033267.3266 | 482.0572 | 19.9
Welland Water | Drinking Water Treatment & Distribution | 4 Cross Street | Welland | L3B 3W4 | 7969.5 | m2 | 24658.3 | 9000.2795 | 3909751 | kWh | 89120 | Cubic Meter | Not Available | Litres | 285.6 | 285600 | 2.2 | 4870253.8962 | 541.1225 | 35.8